## Data Summary
| Curvature |  |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3 |  |  |  |  | Active Area 4
Displacement | AA1 | AA2 | AA3 | AA4 | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift
x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.019129 | 0.053551 | -0.054641 | 0.0060131 | 0.25 | 0.024406 | 0.088032 | -0.069555 | 0.014294 | 0.25 | 0.0048574 | 0.050929 | -0.027384 | 0.0094675 | 0.25 | -0.0013734 | 0.008768 | -0.010582 | -0.0010623
x | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.055681 | 0.12555 | -0.21719 | -0.011988 | 0.8 | 0.078638 | 0.21375 | -0.28714 | 0.001748 | 0.8 | 0.020531 | 0.17454 | -0.23645 | -0.013792 | 0.8 | -0.013976 | 0.0085433 | -0.10332 | -0.036252
x | 1 | 1 | 1 | 1 | 1 | 0.088783 | 0.21222 | -0.29593 | 0.0016916 | 1 | 0.10954 | 0.27129 | -0.33123 | 0.016533 | 1 | 0.041966 | 0.2594 | -0.31043 | -0.0030208 | 1 | -0.0068744 | 0.049815 | -0.13074 | -0.029267
x | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 0.092241 | 0.25982 | -0.32465 | 0.0091387 | 1.25 | 0.15357 | 0.34787 | -0.4161 | 0.028447 | 1.25 | 0.1031 | 0.29696 | -0.39603 | 0.0013447 | 1.25 | 0.043939 | 0.048489 | -0.18002 | -0.029196
x | 3.125 | 3.125 | 3.125 | 3.125 | 3.125 | 0.259 | 0.7195 | -0.96474 | 0.0045853 | 3.125 | 0.33283 | 0.78278 | -1.0325 | 0.027698 | 3.125 | 0.34721 | 0.71603 | -1.073 | -0.0032544 | 3.125 | 0.18186 | 0.20816 | -0.54931 | -0.053095
TEMPERATURE CORRECTED
[5 empty] | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3 |  |  |  |  | Active Area 4
[5 empty] | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3
[5 empty] | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | 0.25 | 0.013116 | 0.047538 | -0.060654 |  | 0.25 | 0.010112 | 0.073738 | -0.08385 |  | 0.25 | -0.0046102 | 0.041461 | -0.036851 |  | 0.25 | -0.010841 | -0.00069954 | -0.020049
[5 empty] | 0.8 | 0.067669 | 0.13753 | -0.2052 |  | 0.8 | 0.07689 | 0.212 | -0.28889 |  | 0.8 | 0.034323 | 0.18833 | -0.22266 |  | 0.8 | -0.00018397 | 0.022335 | -0.089532
[5 empty] | 1 | 0.087091 | 0.21053 | -0.29762 |  | 1 | 0.093006 | 0.25476 | -0.34776 |  | 1 | 0.044987 | 0.26242 | -0.30741 |  | 1 | -0.0038536 | 0.052836 | -0.12772
[5 empty] | 1.25 | 0.083102 | 0.25069 | -0.33379 |  | 1.25 | 0.12512 | 0.31942 | -0.44454 |  | 1.25 | 0.10176 | 0.29561 | -0.39737 |  | 1.25 | 0.042594 | 0.047144 | -0.18136
[5 empty] | 3.125 | 0.25441 | 0.71492 | -0.96933 |  | 3.125 | 0.30513 | 0.75508 | -1.0602 |  | 3.125 | 0.35047 | 0.71928 | -1.0698 |  | 3.125 | 0.18512 | 0.21142 | -0.54605

## Expmt. 1
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH1 ¦ AA4 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH2 ¦ AA4 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3 |  | CH3 ¦ AA4
Average Curvature (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 1538.8961 | 0.018724 | 1546.7624 | 0.025009 | 1555.3699 | 0.025479 | 1562.4417 | 0.022142 | 1538.676 | 0.018587 | 1546.7179 | 0.024613 | 1555.1481 | 0.024959 | 1562.3114 | 0.020023 | 1538.718 | 0.022217 | 1546.9834 | 0.025727 | 1555.1052 | 0.028316 | 1562.2635 | 0.023061
0.25 | 0.25 | 0 | 0.25 | 0 | 0.25 | 0 | 1538.9153 | 0.0053556 | 1546.7868 | 0.0063392 | 1555.3748 | 0.0048015 | 1562.4403 | 0.0046285 | 1538.7295 | 0.0072216 | 1546.8059 | 0.0075705 | 1555.199 | 0.0048569 | 1562.3202 | 0.0031877 | 1538.6634 | 0.0072393 | 1546.9139 | 0.007714 | 1555.0778 | 0.0037517 | 1562.253 | 0.0027416
0.8 | 0.8 | 0 | 0.8 | 0 | 0.8 | 0 | 1538.9518 | 0.011727 | 1546.841 | 0.0076551 | 1555.3905 | 0.004 | 1562.4277 | 0.0069723 | 1538.8015 | 0.0091989 | 1546.9316 | 0.005811 | 1555.3226 | 0.0041229 | 1562.3199 | 0.0079812 | 1538.5008 | 0.0099183 | 1546.6963 | 0.0066397 | 1554.8687 | 0.0061664 | 1562.1602 | 0.0051027
1 | 1 | 0 | 1 | 0 | 1 | 0 | 1538.9849 | 0.011027 | 1546.8719 | 0.011175 | 1555.4119 | 0.0099453 | 1562.4348 | 0.0073019 | 1538.8882 | 0.0081596 | 1546.9892 | 0.0071368 | 1555.4075 | 0.0083965 | 1562.3612 | 0.0042178 | 1538.4221 | 0.0089079 | 1546.6522 | 0.004335 | 1554.7947 | 0.0049718 | 1562.1328 | 0.0070946
1.25 | 1.25 | 0 | 1.25 | 0 | 1.25 | 0 | 1538.9884 | 0.0068952 | 1546.916 | 0.0076052 | 1555.473 | 0.004255 | 1562.4856 | 0.0032015 | 1538.9358 | 0.0044057 | 1547.0658 | 0.0059241 | 1555.445 | 0.004521 | 1562.3599 | 0.0034672 | 1538.3934 | 0.0020497 | 1546.5673 | 0.0024386 | 1554.7092 | 0.0034152 | 1562.0835 | 0.0027364
3.125 | 3.125 | 0 | 3.125 | 0 | 3.125 | 0 | 1539.1551 | 0.010533 | 1547.0952 | 0.01262 | 1555.7171 | 0.0099809 | 1562.6235 | 0.006212 | 1539.3955 | 0.0067511 | 1547.5007 | 0.0071248 | 1555.8641 | 0.0075417 | 1562.5196 | 0.0068041 | 1537.7533 | 0.0063338 | 1545.9509 | 0.0029381 | 1554.0322 | 0.0050103 | 1561.7142 | 0.0055957