## Data Summary
| Curvature |  |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3 |  |  |  |  | Active Area 4
Displacement | AA1 | AA2 | AA3 | AA4 | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift
x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | -0.068255 | 0.022552 | -0.0047699 | -0.016824 | 0.25 | -0.10665 | 0.043714 | 0.010607 | -0.017442 | 0.25 | -0.084252 | 0.0089099 | 0.015002 | -0.020113 | 0.25 | -0.060136 | -0.02146 | 0.0052384 | -0.025452
x | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | -0.22568 | 0.13645 | -0.0032855 | -0.030836 | 0.8 | -0.31545 | 0.18072 | 0.040766 | -0.031319 | 0.8 | -0.25968 | 0.082563 | 0.065362 | -0.037253 | 0.8 | -0.16312 | -0.017713 | 0.027161 | -0.051223
x | 1 | 1 | 1 | 1 | 1 | -0.33247 | 0.22273 | 0.021421 | -0.029437 | 1 | -0.38141 | 0.22099 | 0.06447 | -0.031983 | 1 | -0.3055 | 0.12912 | 0.060142 | -0.038746 | 1 | -0.18989 | -0.0089999 | 0.030388 | -0.056167
x | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | -0.38036 | 0.23589 | 0.049338 | -0.031711 | 1.25 | -0.48987 | 0.29044 | 0.1072 | -0.030744 | 1.25 | -0.35994 | 0.21105 | 0.031443 | -0.039148 | 1.25 | -0.21044 | 0.003645 | 0.017124 | -0.063225
x | 3.125 | 3.125 | 3.125 | 3.125 | 3.125 | -1.0082 | 0.73102 | 0.2122 | -0.021666 | 3.125 | -1.1112 | 0.74102 | 0.29376 | -0.025491 | 3.125 | -1.0166 | 0.78709 | 0.12081 | -0.036239 | 3.125 | -0.44522 | 0.16078 | 0.016698 | -0.089248
TEMPERATURE CORRECTED
[5 empty] | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3 |  |  |  |  | Active Area 4
[5 empty] | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3
[5 empty] | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | 0.25 | -0.05143 | 0.039376 | 0.012054 |  | 0.25 | -0.089206 | 0.061156 | 0.028049 |  | 0.25 | -0.064139 | 0.029023 | 0.035116 |  | 0.25 | -0.040022 | -0.0013466 | 0.025352
[5 empty] | 0.8 | -0.19484 | 0.16729 | 0.02755 |  | 0.8 | -0.28413 | 0.21204 | 0.072085 |  | 0.8 | -0.22243 | 0.11982 | 0.10261 |  | 0.8 | -0.12586 | 0.01954 | 0.064414
[5 empty] | 1 | -0.30303 | 0.25217 | 0.050858 |  | 1 | -0.34943 | 0.25297 | 0.096453 |  | 1 | -0.26676 | 0.16787 | 0.098888 |  | 1 | -0.15114 | 0.029746 | 0.069134
[5 empty] | 1.25 | -0.34865 | 0.2676 | 0.081049 |  | 1.25 | -0.45913 | 0.32118 | 0.13795 |  | 1.25 | -0.32079 | 0.2502 | 0.070591 |  | 1.25 | -0.1713 | 0.042793 | 0.056272
[5 empty] | 3.125 | -0.98655 | 0.75269 | 0.23386 |  | 3.125 | -1.0858 | 0.76651 | 0.31925 |  | 3.125 | -0.98037 | 0.82333 | 0.15705 |  | 3.125 | -0.40899 | 0.19702 | 0.052937

## Expmt. 1
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH1 ¦ AA4 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH2 ¦ AA4 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3 |  | CH3 ¦ AA4
Average Curvature (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 1538.9524 | 0.0048346 | 1546.7956 | 0.0060635 | 1555.4015 | 0.001544 | 1562.4867 | 0.0046691 | 1538.7557 | 0.0036769 | 1546.8035 | 0.0029067 | 1555.2018 | 0.0045712 | 1562.3411 | 0.0070926 | 1538.748 | 0.0042553 | 1547.0531 | 0.0024522 | 1555.1436 | 0.0019684 | 1562.2866 | 0.0034963
0.25 | 0.25 | 0 | 0.25 | 0 | 0.25 | 0 | 1538.8841 | 0.0027137 | 1546.6889 | 0.0018116 | 1555.3173 | 0.0039692 | 1562.4266 | 0.0044081 | 1538.7782 | 0.0019072 | 1546.8473 | 0.0015921 | 1555.2107 | 0.0037911 | 1562.3196 | 0.0037003 | 1538.7432 | 0.0040609 | 1547.0637 | 0.0026328 | 1555.1586 | 0.0029276 | 1562.2918 | 0.0052475
0.8 | 0.8 | 0 | 0.8 | 0 | 0.8 | 0 | 1538.7267 | 0.0061505 | 1546.4801 | 0.0038001 | 1555.1419 | 0.0020661 | 1562.3236 | 0.0021644 | 1538.8922 | 0.0037409 | 1546.9843 | 0.0046662 | 1555.2843 | 0.0016384 | 1562.3234 | 0.0010907 | 1538.7447 | 0.0081207 | 1547.0939 | 0.0039119 | 1555.209 | 0.0021271 | 1562.3137 | 0.0017478
1 | 1 | 0 | 1 | 0 | 1 | 0 | 1538.6199 | 0.0060533 | 1546.4142 | 0.0033191 | 1555.096 | 0.0023537 | 1562.2968 | 0.0022266 | 1538.9784 | 0.0055754 | 1547.0245 | 0.0047344 | 1555.3309 | 0.0045288 | 1562.3321 | 0.0017194 | 1538.7694 | 0.0079816 | 1547.1176 | 0.0063324 | 1555.2037 | 0.0059881 | 1562.317 | 0.001882
1.25 | 1.25 | 0 | 1.25 | 0 | 1.25 | 0 | 1538.572 | 0.0063238 | 1546.3057 | 0.0075906 | 1555.0416 | 0.0071974 | 1562.2763 | 0.0056337 | 1538.9916 | 0.0069239 | 1547.094 | 0.01035 | 1555.4128 | 0.0054108 | 1562.3447 | 0.0054124 | 1538.7973 | 0.0046254 | 1547.1603 | 0.00808 | 1555.175 | 0.0031343 | 1562.3037 | 0.00374
3.125 | 3.125 | 0 | 3.125 | 0 | 3.125 | 0 | 1537.9442 | 0.0055394 | 1545.6843 | 0.0073389 | 1554.3849 | 0.0052815 | 1562.0415 | 0.0027062 | 1539.4867 | 0.0096077 | 1547.5446 | 0.012505 | 1555.9888 | 0.010948 | 1562.5019 | 0.0069493 | 1538.9602 | 0.013284 | 1547.3469 | 0.020794 | 1555.2644 | 0.015285 | 1562.3033 | 0.0057927