## Data Summary
| Curvature |  |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
Displacement | AA1 | AA2 | AA3 | AA4 | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift
x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.022033 | -0.059118 | 0.03104 | -0.0020152 | 0.25 | -0.008681 | 0.0083061 | 0.029233 | 0.0096194 | 0.25 | 0.003966 | -0.015395 | 0.0060768 | -0.0017839
x | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | -0.05076 | -0.17336 | 0.19591 | -0.0094059 | 0.8 | -0.037775 | -0.025049 | 0.11906 | 0.018746 | 0.8 | -0.023237 | -0.040966 | 0.045784 | -0.0061398
x | 1 | 1 | 1 | 1 | 1 | -0.07813 | -0.23412 | 0.24984 | -0.020803 | 1 | -0.028364 | -0.045209 | 0.12599 | 0.017471 | 1 | -0.0054872 | -0.049353 | 0.025268 | -0.0098574
x | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | -0.034943 | -0.31781 | 0.28194 | -0.023604 | 1.25 | -0.065522 | -0.082878 | 0.19763 | 0.016411 | 1.25 | -0.013697 | -0.083524 | 0.056629 | -0.013531
x | 3.125 | 3.125 | 3.125 | 3.125 | 3.125 | -0.099989 | -0.70842 | 0.71888 | -0.029844 | 3.125 | -0.14603 | -0.49344 | 0.69208 | 0.017534 | 3.125 | -0.034485 | -0.30143 | 0.28 | -0.018641
TEMPERATURE CORRECTED
[5 empty] | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
[5 empty] | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3
[5 empty] | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | 0.25 | 0.024048 | -0.057103 | 0.033055 |  | 0.25 | -0.0183 | -0.0013132 | 0.019614 |  | 0.25 | 0.0057499 | -0.013611 | 0.0078608
[5 empty] | 0.8 | -0.041354 | -0.16396 | 0.20531 |  | 0.8 | -0.056521 | -0.043795 | 0.10032 |  | 0.8 | -0.017097 | -0.034826 | 0.051923
[5 empty] | 1 | -0.057327 | -0.21332 | 0.27064 |  | 1 | -0.045835 | -0.062681 | 0.10852 |  | 1 | 0.0043702 | -0.039496 | 0.035125
[5 empty] | 1.25 | -0.011339 | -0.2942 | 0.30554 |  | 1.25 | -0.081933 | -0.099289 | 0.18122 |  | 1.25 | -0.0001664 | -0.069993 | 0.07016
[5 empty] | 3.125 | -0.070145 | -0.67858 | 0.74872 |  | 3.125 | -0.16357 | -0.51098 | 0.67454 |  | 3.125 | -0.015844 | -0.28279 | 0.29864

## Expmt. 1
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Average Curvature (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 1540.3588 | 0.0052921 | 1550.4164 | 0.0036907 | 1560.5334 | 0.0064795 | 1540.4972 | 0.0028232 | 1550.5189 | 0.0050188 | 1560.1854 | 0.0092559 | 1540.7583 | 0.0021079 | 1550.5288 | 0.0035081 | 1560.3901 | 0.0030019
0.25 | 0.25 | 0 | 0.25 | 0 | 0.25 | 0 | 1540.3808 | 0.002552 | 1550.4077 | 0.0018547 | 1560.5374 | 0.0009565 | 1540.438 | 0.0015549 | 1550.5272 | 0.00072968 | 1560.1701 | 0.0011982 | 1540.7893 | 0.0023434 | 1550.558 | 0.001671 | 1560.3961 | 0.0021093
0.8 | 0.8 | 0 | 0.8 | 0 | 0.8 | 0 | 1540.308 | 0.002176 | 1550.3786 | 0.0023381 | 1560.5102 | 0.0020862 | 1540.3238 | 0.0026357 | 1550.4938 | 0.0022604 | 1560.1445 | 0.0029019 | 1540.9542 | 0.0042366 | 1550.6478 | 0.0038629 | 1560.4358 | 0.0021722
1 | 1 | 0 | 1 | 0 | 1 | 0 | 1540.2806 | 0.001758 | 1550.388 | 0.0018329 | 1560.5279 | 0.0020782 | 1540.263 | 0.0029052 | 1550.4737 | 0.0021119 | 1560.1361 | 0.0022694 | 1541.0081 | 0.0039361 | 1550.6548 | 0.0027708 | 1560.4153 | 0.001396
1.25 | 1.25 | 0 | 1.25 | 0 | 1.25 | 0 | 1540.3238 | 0.0037992 | 1550.3508 | 0.001247 | 1560.5197 | 0.001235 | 1540.1794 | 0.0029581 | 1550.436 | 0.0010952 | 1560.1019 | 0.0014456 | 1541.0402 | 0.0036843 | 1550.7264 | 0.0013905 | 1560.4467 | 0.0010893
3.125 | 3.125 | 0 | 3.125 | 0 | 3.125 | 0 | 1540.2588 | 0.0058453 | 1550.2703 | 0.0040306 | 1560.499 | 0.0018378 | 1539.7887 | 0.0053281 | 1550.0254 | 0.0020866 | 1559.884 | 0.0011581 | 1541.4771 | 0.0034504 | 1551.2209 | 0.0025375 | 1560.6701 | 0.00067731