## Data Summary
| Curvature |  |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
Displacement | AA1 | AA2 | AA3 | AA4 | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift
x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | -0.0074412 | 0.041878 | -0.032721 | 0.00057172 | 0.25 | 0.004029 | -0.057383 | -0.037736 | -0.030363 | 0.25 | -0.0014152 | 0.015439 | -0.01227 | 0.00058459
x | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.084651 | 0.093873 | -0.18252 | -0.0013329 | 0.8 | -0.040116 | -0.049826 | -0.13046 | -0.073467 | 0.8 | -0.024901 | 0.10397 | -0.073416 | 0.0018848
x | 1 | 1 | 1 | 1 | 1 | 0.089008 | 0.14314 | -0.21957 | 0.0041934 | 1 | -0.026827 | -0.020828 | -0.17809 | -0.075249 | 1 | -0.02985 | 0.10533 | -0.069147 | 0.0021102
x | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 0.063049 | 0.21679 | -0.2588 | 0.0070115 | 1.25 | -0.0024704 | 0.018501 | -0.2422 | -0.075389 | 1.25 | -0.061771 | 0.23497 | -0.16258 | 0.003541
x | 3.125 | 3.125 | 3.125 | 3.125 | 3.125 | 0.14206 | 0.62757 | -0.72126 | 0.01612 | 3.125 | 0.02333 | 0.46566 | -0.67271 | -0.061242 | 3.125 | -0.06826 | 0.52338 | -0.44 | 0.0050397
TEMPERATURE CORRECTED
[5 empty] | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
[5 empty] | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3
[5 empty] | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | 0.25 | -0.0080129 | 0.041306 | -0.033293 |  | 0.25 | 0.034392 | -0.02702 | -0.0073725 |  | 0.25 | -0.0019998 | 0.014855 | -0.012855
[5 empty] | 0.8 | 0.085984 | 0.095206 | -0.18119 |  | 0.8 | 0.033351 | 0.023641 | -0.056991 |  | 0.8 | -0.026785 | 0.10209 | -0.075301
[5 empty] | 1 | 0.084815 | 0.13894 | -0.22376 |  | 1 | 0.048423 | 0.054421 | -0.10284 |  | 1 | -0.03196 | 0.10322 | -0.071258
[5 empty] | 1.25 | 0.056037 | 0.20978 | -0.26582 |  | 1.25 | 0.072918 | 0.09389 | -0.16681 |  | 1.25 | -0.065312 | 0.23143 | -0.16612
[5 empty] | 3.125 | 0.12594 | 0.61145 | -0.73738 |  | 3.125 | 0.084572 | 0.5269 | -0.61147 |  | 3.125 | -0.0733 | 0.51834 | -0.44504

## Expmt. 1
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Average Curvature (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average Curvature (1/m) | Std Dev (1/m) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 1540.3251 | 0.0057405 | 1550.3751 | 0.0021009 | 1560.5146 | 0.0012663 | 1540.5082 | 0.0038339 | 1550.5243 | 0.0015921 | 1560.1446 | 0.00073358 | 1540.7061 | 0.0054968 | 1550.5019 | 0.0011911 | 1560.3625 | 0.00055683
0.25 | 0.25 | 0 | 0.25 | 0 | 0.25 | 0 | 1540.3176 | 0.0017048 | 1550.3791 | 0.00052095 | 1560.5132 | 0.0014757 | 1540.55 | 0.0079585 | 1550.4669 | 0.0049945 | 1560.16 | 0.002734 | 1540.6734 | 0.008542 | 1550.4642 | 0.0015465 | 1560.3502 | 0.0033843
0.8 | 0.8 | 0 | 0.8 | 0 | 0.8 | 0 | 1540.4097 | 0.0014543 | 1550.3349 | 0.0013736 | 1560.4897 | 0.0013977 | 1540.602 | 0.0014438 | 1550.4745 | 0.0029129 | 1560.2486 | 0.00075679 | 1540.5236 | 0.0031949 | 1550.3714 | 0.001313 | 1560.2891 | 0.00071406
1 | 1 | 0 | 1 | 0 | 1 | 0 | 1540.4141 | 0.00088268 | 1550.3482 | 0.00071213 | 1560.4848 | 0.00075046 | 1540.6513 | 0.0036438 | 1550.5035 | 0.0015068 | 1560.2499 | 0.00051891 | 1540.4866 | 0.0019716 | 1550.3238 | 0.0010275 | 1560.2933 | 0.0016213
1.25 | 1.25 | 0 | 1.25 | 0 | 1.25 | 0 | 1540.3881 | 0.0016138 | 1550.3726 | 0.0015452 | 1560.4529 | 0.0029115 | 1540.725 | 0.0021542 | 1550.5428 | 0.0014043 | 1560.3796 | 0.0014786 | 1540.4473 | 0.0028347 | 1550.2597 | 0.00208 | 1560.1999 | 0.0017155
3.125 | 3.125 | 0 | 3.125 | 0 | 3.125 | 0 | 1540.4671 | 0.0053449 | 1550.3984 | 0.0025102 | 1560.4464 | 0.00179 | 1541.1357 | 0.0064468 | 1550.9899 | 0.016264 | 1560.668 | 0.002913 | 1539.9849 | 0.0044534 | 1549.8292 | 0.002453 | 1559.9225 | 0.0039486