## Data Summary
| Curvature |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
Displacement | AA1 | AA2 | AA3 | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift
0 | 0 | 0 | 0 | 0 | -0.002761 | -0.018105 | 0.0082417 | -0.0042082 | 0 | -0.018647 | 0.0041057 | 0.0014171 | -0.0043748 | 0 | -0.013191 | 0.0027437 | 0.0013715 | -0.0030253
1 | -0.00019068 | -0.00015361 | -4.3511e-05 | -0.00019068 | -0.011908 | 0.050119 | -0.043379 | -0.0017225 | -0.00015361 | -0.1084 | 0.024702 | -0.20837 | -0.097354 | -4.3511e-05 | -0.05605 | 0.12572 | -0.084513 | -0.004946
2 | -0.00045701 | -0.00036994 | -0.00010085 | -0.00045701 | 0.00076455 | 0.13325 | -0.14846 | -0.0048152 | -0.00036994 | -0.057863 | 0.37177 | -0.66343 | -0.11651 | -0.00010085 | -0.039857 | 0.30161 | -0.26986 | -0.0027007
3 | -0.0007251 | -0.00059277 | -0.00014768 | -0.0007251 | 0.026165 | 0.19453 | -0.23399 | -0.0044322 | -0.00059277 | 0.0090926 | 0.70994 | -1.1622 | -0.14772 | -0.00014768 | -0.030159 | 0.52399 | -0.46204 | 0.010598
0 | 0 | 0 | 0 | 0 | 0.00085202 | -0.0021021 | 0.0020398 | 0.00026324 | 0 | -0.00026922 | -0.0019744 | 0.0029229 | 0.00022642 | 0 | 0.0034813 | 0.00026788 | 0.00010228 | 0.0012838
1 | -0.00016469 | -0.00013664 | -5.3273e-05 | -0.00016469 | 4.1972e-05 | 0.073626 | -0.072792 | 0.00029179 | -0.00013664 | -0.01662 | -0.10242 | -0.15115 | -0.090062 | -5.3273e-05 | -0.0042161 | 0.049395 | -0.040205 | 0.0016578
2 | -0.00035586 | -0.0002936 | -0.00010366 | -0.00035586 | 0.01467 | 0.15774 | -0.17735 | -0.0016452 | -0.0002936 | 0.015255 | 0.080541 | -0.37576 | -0.093321 | -0.00010366 | 0.0033193 | 0.10953 | -0.10278 | 0.0033576
3 | -0.00053612 | -0.00044565 | -0.00015488 | -0.00053612 | 0.028298 | 0.23693 | -0.28138 | -0.0053846 | -0.00044565 | 0.048378 | 0.23695 | -0.60365 | -0.10611 | -0.00015488 | 0.011367 | 0.16992 | -0.16829 | 0.0043326
4 | -0.0007154 | -0.00060228 | -0.00020686 | -0.0007154 | 0.040198 | 0.31598 | -0.38495 | -0.00959 | -0.00060228 | 0.080073 | 0.4287 | -0.83782 | -0.10968 | -0.00020686 | 0.012942 | 0.23815 | -0.23355 | 0.0058474
5 | -0.00089058 | -0.00076203 | -0.00025533 | -0.00089058 | 0.05738 | 0.38263 | -0.47337 | -0.011118 | -0.00076203 | 0.10752 | 0.57421 | -1.0752 | -0.13116 | -0.00025533 | 0.0019527 | 0.30997 | -0.28538 | 0.0088448
0 | 0 | 0 | 0 | 0 | 0.0019089 | 0.020208 | -0.010281 | 0.003945 | 0 | 0.018916 | -0.0021313 | -0.00434 | 0.0041483 | 0 | 0.0097099 | -0.0030116 | -0.0014738 | 0.0017415
1 | 7.062e-05 | -5.505e-05 | -0.0001203 | 7.062e-05 | 0.018198 | 0.16629 | -0.17951 | 0.0016573 | -5.505e-05 | 0.025945 | -0.14251 | -0.1086 | -0.075053 | -0.0001203 | 0.010636 | 0.025883 | -0.030845 | 0.0018916
2 | 7.3895e-05 | -0.00012706 | -0.00020534 | 7.3895e-05 | 0.042697 | 0.30601 | -0.35099 | -0.00076147 | -0.00012706 | 0.044272 | -0.091656 | -0.22745 | -0.09161 | -0.00020534 | 0.015463 | 0.056632 | -0.064982 | 0.0023712
3 | 7.5487e-05 | -0.00020022 | -0.00028854 | 7.5487e-05 | 0.067073 | 0.44235 | -0.52334 | -0.0046362 | -0.00020022 | 0.062889 | -0.0039741 | -0.34899 | -0.096693 | -0.00028854 | 0.019823 | 0.088679 | -0.1011 | 0.0024683
4 | 5.0708e-05 | -0.00027107 | -0.0003778 | 5.0708e-05 | 0.091941 | 0.57719 | -0.69504 | -0.0086385 | -0.00027107 | 0.081101 | 0.11375 | -0.47011 | -0.091754 | -0.0003778 | 0.022897 | 0.12299 | -0.13595 | 0.0033136
5 | 3.1784e-05 | -0.00032735 | -0.00046927 | 3.1784e-05 | 0.11705 | 0.709 | -0.86461 | -0.012853 | -0.00032735 | 0.095367 | 0.23903 | -0.59051 | -0.085371 | -0.00046927 | 0.019382 | 0.15996 | -0.16735 | 0.0039975
6 | 5.5893e-05 | -0.00039053 | -0.00056297 | 5.5893e-05 | 0.14172 | 0.84014 | -1.0338 | -0.017328 | -0.00039053 | 0.1071 | 0.33078 | -0.71012 | -0.090745 | -0.00056297 | 0.012466 | 0.19673 | -0.19746 | 0.003914
7 | 0 | -0.00045284 | -0.00065171 | 0 | 0.16394 | 0.96329 | -1.1925 | -0.021759 | -0.00045284 | 0.12344 | 0.43744 | -0.8371 | -0.092071 | -0.00065171 | 0.013417 | 0.23335 | -0.235 | 0.0039222
8 | 0 | -0.0005227 | -0.0007384 | 0 | 0.18808 | 1.0782 | -1.3348 | -0.022825 | -0.0005227 | 0.1377 | 0.48184 | -0.9541 | -0.11152 | -0.0007384 | 0.015791 | 0.274 | -0.27419 | 0.0052032
TEMPERATURE CORRECTED
|  |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
|  |  |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3
|  |  |  | 0 | 0.0014473 | -0.013897 | 0.01245 |  | 0 | -0.014272 | 0.0084804 | 0.0057919 |  | 0 | -0.010166 | 0.005769 | 0.0043968
|  |  |  | -0.00019068 | -0.010186 | 0.051842 | -0.041656 |  | -0.00015361 | -0.011044 | 0.12206 | -0.11101 |  | -0.00015361 | -0.051104 | 0.13067 | -0.079567
|  |  |  | -0.00045701 | 0.0055797 | 0.13807 | -0.14365 |  | -0.00036994 | 0.058645 | 0.48828 | -0.54692 |  | -0.00036994 | -0.037157 | 0.30431 | -0.26716
|  |  |  | -0.0007251 | 0.030597 | 0.19896 | -0.22956 |  | -0.00059277 | 0.15682 | 0.85766 | -1.0145 |  | -0.00059277 | -0.040758 | 0.51339 | -0.47264
|  |  |  | 0 | 0.00058878 | -0.0023653 | 0.0017765 |  | 0 | -0.00049563 | -0.0022008 | 0.0026964 |  | 0 | 0.0021974 | -0.0010159 | -0.0011815
|  |  |  | -0.00016469 | -0.00024981 | 0.073334 | -0.073084 |  | -0.00013664 | 0.073442 | -0.012358 | -0.061084 |  | -0.00013664 | -0.0058739 | 0.047737 | -0.041863
|  |  |  | -0.00035586 | 0.016316 | 0.15939 | -0.1757 |  | -0.0002936 | 0.10858 | 0.17386 | -0.28244 |  | -0.0002936 | -3.8323e-05 | 0.10618 | -0.10614
|  |  |  | -0.00053612 | 0.033682 | 0.24232 | -0.276 |  | -0.00044565 | 0.15449 | 0.34305 | -0.49754 |  | -0.00044565 | 0.0070346 | 0.16558 | -0.17262
|  |  |  | -0.0007154 | 0.049788 | 0.32557 | -0.37536 |  | -0.00060228 | 0.18975 | 0.53839 | -0.72814 |  | -0.00060228 | 0.0070946 | 0.2323 | -0.2394
|  |  |  | -0.00089058 | 0.068498 | 0.39375 | -0.46225 |  | -0.00076203 | 0.23868 | 0.70537 | -0.94405 |  | -0.00076203 | -0.0068922 | 0.30112 | -0.29423
|  |  |  | 0 | -0.0020361 | 0.016263 | -0.014226 |  | 0 | 0.014768 | -0.0062796 | -0.0084883 |  | 0 | 0.0079684 | -0.0047531 | -0.0032153
|  |  |  | 7.062e-05 | 0.01654 | 0.16463 | -0.18117 |  | -5.505e-05 | 0.101 | -0.067455 | -0.033543 |  | -5.505e-05 | 0.0087447 | 0.023992 | -0.032737
|  |  |  | 7.3895e-05 | 0.043458 | 0.30678 | -0.35023 |  | -0.00012706 | 0.13588 | -4.5794e-05 | -0.13584 |  | -0.00012706 | 0.013092 | 0.054261 | -0.067353
|  |  |  | 7.5487e-05 | 0.071709 | 0.44699 | -0.5187 |  | -0.00020022 | 0.15958 | 0.092719 | -0.2523 |  | -0.00020022 | 0.017354 | 0.086211 | -0.10356
|  |  |  | 5.0708e-05 | 0.10058 | 0.58583 | -0.68641 |  | -0.00027107 | 0.17286 | 0.2055 | -0.37836 |  | -0.00027107 | 0.019583 | 0.11968 | -0.13926
|  |  |  | 3.1784e-05 | 0.1299 | 0.72185 | -0.85175 |  | -0.00032735 | 0.18074 | 0.3244 | -0.50514 |  | -0.00032735 | 0.015385 | 0.15596 | -0.17134
|  |  |  | 5.5893e-05 | 0.15904 | 0.85747 | -1.0165 |  | -0.00039053 | 0.19784 | 0.42153 | -0.61937 |  | -0.00039053 | 0.0085524 | 0.19282 | -0.20137
|  |  |  | 0 | 0.1857 | 0.98505 | -1.1707 |  | -0.00045284 | 0.21551 | 0.52951 | -0.74503 |  | -0.00045284 | 0.009495 | 0.22943 | -0.23892
|  |  |  | 0 | 0.21091 | 1.1011 | -1.312 |  | -0.0005227 | 0.24922 | 0.59336 | -0.84258 |  | -0.0005227 | 0.010588 | 0.2688 | -0.27939

## Expmt. 1 - 20mm
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Displacement (mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | -3.2887e-05 | 3.249e-06 | -2.6418e-05 | 2.3697e-06 | -7.2557e-06 | 1.5825e-06 | 1540.2663 | 0.0074199 | 1550.3072 | 0.010222 | 1560.4323 | 0.0071464 | 1540.5289 | 0.0060243 | 1550.5834 | 0.016512 | 1560.2257 | 0.0023963 | 1540.7246 | 0.0025325 | 1550.4968 | 0.0064826 | 1560.3401 | 0.0060997
1 | -0.00019068 | 8.7735e-06 | -0.00015361 | 6.3672e-06 | -4.3511e-05 | 1.5347e-06 | 1540.2571 | 0.0072518 | 1550.2174 | 0.008206 | 1560.3894 | 0.0095648 | 1540.5971 | 0.0076293 | 1550.604 | 0.01976 | 1560.3487 | 0.0089464 | 1540.673 | 0.0031924 | 1550.287 | 0.022524 | 1560.2542 | 0.0062075
2 | -0.00045701 | 6.2886e-06 | -0.00036994 | 3.7294e-06 | -0.00010085 | 4.6376e-06 | 1540.2698 | 0.0082742 | 1550.268 | 0.0088294 | 1560.4056 | 0.0060369 | 1540.6802 | 0.011311 | 1550.9511 | 0.071916 | 1560.5246 | 0.015235 | 1540.5679 | 0.010223 | 1549.8319 | 0.015893 | 1560.0689 | 0.010381
3 | -0.0007251 | 3.0225e-06 | -0.00059277 | 2.2011e-06 | -0.00014768 | 1.9688e-06 | 1540.2952 | 0.007624 | 1550.3349 | 0.0096298 | 1560.4153 | 0.004632 | 1540.7415 | 0.0037681 | 1551.2893 | 0.054107 | 1560.747 | 0.0038008 | 1540.4824 | 0.0062888 | 1549.3331 | 0.0019495 | 1559.8767 | 0.0076767

## Expmt. 2 - 35mm
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Displacement (mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | -2.5752e-05 | 2.2955e-06 | -2.1787e-05 | 1.7014e-06 | -1.004e-05 | 1.2044e-06 | 1540.2699 | 0.0044114 | 1550.3256 | 0.0038224 | 1560.4489 | 0.0040794 | 1540.5449 | 0.0056262 | 1550.5774 | 0.0071679 | 1560.2233 | 0.0043674 | 1540.7184 | 0.0025735 | 1550.4983 | 0.0037207 | 1560.3388 | 0.0032491
1 | -0.00016469 | 8.576e-06 | -0.00013664 | 6.222e-06 | -5.3273e-05 | 8.6344e-07 | 1540.2691 | 0.0040361 | 1550.3092 | 0.0024148 | 1560.4412 | 0.0034432 | 1540.6206 | 0.0052607 | 1550.4769 | 0.011712 | 1560.2724 | 0.0033316 | 1540.6436 | 0.0026331 | 1550.3442 | 0.0096646 | 1560.2985 | 0.0028622
2 | -0.00035586 | 7.2935e-06 | -0.0002936 | 5.3857e-06 | -0.00010366 | 1.2822e-06 | 1540.2837 | 0.0040277 | 1550.3411 | 0.0051132 | 1560.4488 | 0.003106 | 1540.7047 | 0.006338 | 1550.6599 | 0.0092563 | 1560.3325 | 0.0037982 | 1540.539 | 0.0050762 | 1550.1196 | 0.0085597 | 1560.2359 | 0.0040639
3 | -0.00053612 | 7.3393e-06 | -0.00044565 | 5.2514e-06 | -0.00015488 | 2.2588e-06 | 1540.2973 | 0.0053228 | 1550.3742 | 0.0066662 | 1560.4568 | 0.0045099 | 1540.7839 | 0.010266 | 1550.8163 | 0.0593 | 1560.3929 | 0.0043093 | 1540.435 | 0.010741 | 1549.8917 | 0.0081204 | 1560.1704 | 0.0059078
4 | -0.0007154 | 6.7618e-06 | -0.00060228 | 4.7183e-06 | -0.00020686 | 3.0584e-06 | 1540.3092 | 0.0057867 | 1550.4059 | 0.0071787 | 1560.4584 | 0.0044569 | 1540.8629 | 0.012576 | 1551.008 | 0.012983 | 1560.4611 | 0.0040491 | 1540.3314 | 0.013753 | 1549.6575 | 0.0073356 | 1560.1052 | 0.0040981
5 | -0.00089058 | 1.6068e-06 | -0.00076203 | 1.0813e-06 | -0.00025533 | 1.4258e-06 | 1540.3264 | 0.0035215 | 1550.4334 | 0.006811 | 1560.4474 | 0.0043771 | 1540.9296 | 0.0028161 | 1551.1536 | 0.037558 | 1560.533 | 0.0031724 | 1540.243 | 0.000679 | 1549.4201 | 0.0038225 | 1560.0533 | 0.0044299

## Expmt. 3 - 55mm
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Displacement (mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | 2.1673e-05 | 4.4135e-05 | -4.8364e-06 | 1.6975e-05 | -2.9121e-05 | 1.158e-05 | 1540.2709 | 0.0030118 | 1550.3448 | 0.0034858 | 1560.4552 | 0.0027181 | 1540.5672 | 0.0018933 | 1550.5772 | 0.0051677 | 1560.22 | 0.0026496 | 1540.7061 | 0.0029255 | 1550.491 | 0.0037241 | 1560.3372 | 0.0027143
1 | 7.062e-05 | 1.6211e-05 | -5.505e-05 | 6.1957e-06 | -0.0001203 | 5.9983e-06 | 1540.2872 | 0.0029387 | 1550.3518 | 0.003034 | 1560.4561 | 0.0029942 | 1540.7132 | 0.0026945 | 1550.4368 | 0.011674 | 1560.2489 | 0.0026091 | 1540.5369 | 0.0032775 | 1550.3867 | 0.0055256 | 1560.3079 | 0.003474
2 | 7.3895e-05 | 1.7294e-05 | -0.00012706 | 3.6684e-06 | -0.00020534 | 4.3194e-06 | 1540.3117 | 0.0031423 | 1550.3701 | 0.0052684 | 1560.4609 | 0.0035703 | 1540.853 | 0.0024627 | 1550.4877 | 0.005359 | 1560.2796 | 0.0028459 | 1540.3654 | 0.0028557 | 1550.2679 | 0.0046708 | 1560.2737 | 0.00426
3 | 7.5487e-05 | 4.7299e-05 | -0.00020022 | 1.0288e-05 | -0.00028854 | 7.4669e-06 | 1540.3361 | 0.002761 | 1550.3887 | 0.0059552 | 1560.4653 | 0.0028783 | 1540.9893 | 0.0013665 | 1550.5754 | 0.0028872 | 1560.3117 | 0.0033508 | 1540.1931 | 0.0029186 | 1550.1463 | 0.0029402 | 1560.2376 | 0.0045752
4 | 5.0708e-05 | 4.1747e-05 | -0.00027107 | 1.5309e-05 | -0.0003778 | 6.2374e-06 | 1540.361 | 0.003288 | 1550.4069 | 0.0068988 | 1560.4684 | 0.002839 | 1541.1241 | 0.0027373 | 1550.6931 | 0.010287 | 1560.346 | 0.0044233 | 1540.0214 | 0.0031376 | 1550.0252 | 0.0034774 | 1560.2028 | 0.0033653
5 | 3.1784e-05 | 8.801e-05 | -0.00032735 | 3.0382e-05 | -0.00046927 | 1.0179e-05 | 1540.3861 | 0.0028227 | 1550.4212 | 0.0072314 | 1560.4648 | 0.0033288 | 1541.256 | 0.0027507 | 1550.8184 | 0.0093757 | 1560.383 | 0.005306 | 1539.8518 | 0.0029958 | 1549.9048 | 0.00642 | 1560.1714 | 0.0027009
6 | 5.5893e-05 | 8.3057e-05 | -0.00039053 | 2.6315e-05 | -0.00056297 | 9.1015e-06 | 1540.4108 | 0.0021486 | 1550.4329 | 0.0052333 | 1560.4579 | 0.002693 | 1541.3871 | 0.0044817 | 1550.9101 | 0.0039657 | 1560.4197 | 0.0042008 | 1539.6826 | 0.005822 | 1549.7852 | 0.0070246 | 1560.1413 | 0.0026343
7 | 1.4913e-05 | 9.7899e-05 | -0.00045284 | 3.6284e-05 | -0.00065171 | 8.2827e-06 | 1540.433 | 0.0029054 | 1550.4493 | 0.0037111 | 1560.4589 | 0.0024107 | 1541.5102 | 0.0043374 | 1551.0168 | 0.054058 | 1560.4563 | 0.002871 | 1539.5239 | 0.0080655 | 1549.6582 | 0.010599 | 1560.1037 | 0.0018668
8 | -1.9381e-05 | 8.9788e-05 | -0.0005227 | 4.0448e-05 | -0.0007384 | 9.0745e-06 | 1540.4571 | 0.0012905 | 1550.4635 | 0.0030228 | 1560.4613 | 0.00231 | 1541.6252 | 0.0035942 | 1551.0612 | 0.0017555 | 1560.497 | 0.0023454 | 1539.3816 | 0.0043114 | 1549.5412 | 0.001493 | 1560.0645 | 0.0015552

## "Zero" Curvature
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Experiment | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
1 | -3.2887e-05 | 3.249e-06 | -2.6418e-05 | 2.3697e-06 | -2.6418e-05 | 2.3697e-06 | 1540.2663 | 0.0074199 | 1550.3072 | 0.010222 | 1560.4323 | 0.0071464 | 1540.5289 | 0.0060243 | 1550.5834 | 0.016512 | 1560.2257 | 0.0023963 | 1540.7246 | 0.0025325 | 1550.4968 | 0.0064826 | 1560.3401 | 0.0060997
2 | -2.5752e-05 | 2.2955e-06 | -2.1787e-05 | 1.7014e-06 | -2.1787e-05 | 1.7014e-06 | 1540.2699 | 0.0044114 | 1550.3256 | 0.0038224 | 1560.4489 | 0.0040794 | 1540.5449 | 0.0056262 | 1550.5774 | 0.0071679 | 1560.2233 | 0.0043674 | 1540.7184 | 0.0025735 | 1550.4983 | 0.0037207 | 1560.3388 | 0.0032491
3 | 2.1673e-05 | 4.4135e-05 | -4.8364e-06 | 1.6975e-05 | -4.8364e-06 | 1.6975e-05 | 1540.2709 | 0.0030118 | 1550.3448 | 0.0034858 | 1560.4552 | 0.0027181 | 1540.5672 | 0.0018933 | 1550.5772 | 0.0051677 | 1560.22 | 0.0026496 | 1540.7061 | 0.0029255 | 1550.491 | 0.0037241 | 1560.3372 | 0.0027143
Min | -3.2887e-05 |  | -2.6418e-05 |  | -2.6418e-05 |  | 1540.2663 |  | 1550.3072 |  | 1560.4323 |  | 1540.5289 |  | 1550.5772 |  | 1560.22 |  | 1540.7061 |  | 1550.491 |  | 1560.3372
Max | 2.1673e-05 |  | -4.8364e-06 |  | -4.8364e-06 |  | 1540.2709 |  | 1550.3448 |  | 1560.4552 |  | 1540.5672 |  | 1550.5834 |  | 1560.2257 |  | 1540.7246 |  | 1550.4983 |  | 1560.3401
Average | -1.2322e-05 |  | -1.7681e-05 |  | -1.7681e-05 |  | 1540.269 |  | 1550.3258 |  | 1560.4455 |  | 1540.547 |  | 1550.5793 |  | 1560.223 |  | 1540.7164 |  | 1550.4953 |  | 1560.3387
Std Dev | 2.9656e-05 |  | 1.1362e-05 |  | 1.1362e-05 |  | 0.0024488 |  | 0.018783 |  | 0.011841 |  | 0.019243 |  | 0.0035565 |  | 0.002887 |  | 0.0094286 |  | 0.0038332 |  | 0.0014254
All Curvatures
| Average Curvature (1/mm) | Std Dev (1/mm) | Weights
1.1 | -3.2887e-05 | 3.249e-06 | 307788.9193 |  | Ch 1
1.2 | -2.5752e-05 | 2.2955e-06 | 435627.0925 |  | Active Area | Wavelength (nm)
1.3 | 2.1673e-05 | 4.4135e-05 | 22657.9846 |  | 1 | 1540.269
2.1 | -2.6418e-05 | 2.3697e-06 | 421994.9236 |  | 2 | 1550.3258
2.2 | -2.1787e-05 | 1.7014e-06 | 587743.0011 |  | 3 | 1560.4455
2.3 | -4.8364e-06 | 1.6975e-05 | 58909.0943
3.1 | -2.6418e-05 | 2.3697e-06 | 421994.9236 |  | Ch 2
3.2 | -2.1787e-05 | 1.7014e-06 | 587743.0011 |  | Active Area | Wavelength (nm)
3.3 | -4.8364e-06 | 1.6975e-05 | 58909.0943 |  | 1 | 1540.547
Weighted Average | -2.3878e-05 |  |  |  | 2 | 1550.5793
Weighted Std Dev | 8.6419e-07 |  |  |  | 3 | 1560.223
Min | -3.2887e-05
Max | 2.1673e-05 |  |  |  | Ch 3
|  | Zero Curvature |  |  | Active Area | Wavelength (nm)
|  | Range | Curvature (1/mm) |  | 1 | 1540.7164
|  | Min | -3.2887e-05 |  | 2 | 1550.4953
|  | Max | 2.1673e-05 |  | 3 | 1560.3387