## Data Summary
| Curvature |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
Displacement | AA1 | AA2 | AA3 | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift | Curvature | Ch 1 | Ch 2 | Ch 3 | Avg Shift
0 | 0 | 0 | -2.8346e-05 | 0 | 0.017867 | 0.0098298 | -0.023437 | 0.00142 | 0 | -0.01292 | 0.0024247 | 0.017633 | 0.0023794 | -2.8346e-05 | -0.0029524 | -0.0013943 | 0.013245 | 0.002966
1 | -0.00013218 | -0.00012197 | -8.2492e-05 | -0.00013218 | -0.0385 | 0.030206 | 0.044153 | 0.011953 | -0.00012197 | -0.35789 | 0.038799 | 0.29394 | -0.0083842 | -8.2492e-05 | -0.14969 | 0.033909 | 0.10238 | -0.0044683
2 | -0.00028484 | -0.00033528 | -0.00012391 | -0.00028484 | -0.11891 | 0.089777 | 0.1108 | 0.02722 | -0.00033528 | -0.89973 | 0.020956 | 0.57655 | -0.10074 | -0.00012391 | -0.40107 | 0.15292 | 0.19922 | -0.016309
3 | -0.0005227 | -0.00056562 | -0.00015321 | -0.0005227 | -0.16793 | 0.13737 | 0.15658 | 0.042006 | -0.00056562 | -1.4815 | 0.26625 | 0.88457 | -0.11021 | -0.00015321 | -0.70055 | 0.29547 | 0.32037 | -0.028236
0 | 0 | 0 | -2.8151e-05 | 0 | 0.013649 | 0.00070053 | -0.015307 | -0.00031912 | 0 | 0.013906 | -0.0075359 | -0.00018542 | 0.0020615 | -2.8151e-05 | 0.0076393 | -0.0028814 | -0.0015193 | 0.0010795
1 | -3.6697e-05 | -8.7079e-05 | -0.00010407 | -3.6697e-05 | -0.061982 | 0.044997 | 0.055986 | 0.013 | -8.7079e-05 | -0.22224 | 0.038016 | 0.14269 | -0.013844 | -0.00010407 | -0.067531 | 0.028265 | 0.032099 | -0.0023888
2 | -6.3999e-05 | -0.00022923 | -0.00014488 | -6.3999e-05 | -0.14699 | 0.10841 | 0.12702 | 0.029483 | -0.00022923 | -0.50044 | -0.079704 | 0.27709 | -0.10102 | -0.00014488 | -0.15821 | 0.07469 | 0.062668 | -0.0069511
3 | -0.00010212 | -0.00035604 | -0.0001998 | -0.00010212 | -0.23103 | 0.17129 | 0.19474 | 0.045002 | -0.00035604 | -0.77251 | 0.028552 | 0.41213 | -0.11061 | -0.0001998 | -0.2527 | 0.1225 | 0.098783 | -0.010475
4 | -0.00015627 | -0.00048559 | -0.00025188 | -0.00015627 | -0.31103 | 0.23382 | 0.2573 | 0.060028 | -0.00048559 | -1.0485 | 0.17741 | 0.54908 | -0.10734 | -0.00025188 | -0.34839 | 0.17079 | 0.13423 | -0.014458
5 | -0.00019525 | -0.00060995 | -0.00030088 | -0.00019525 | -0.37343 | 0.28451 | 0.30471 | 0.071932 | -0.00060995 | -1.3371 | 0.32353 | 0.69297 | -0.10685 | -0.00030088 | -0.44652 | 0.2185 | 0.17131 | -0.018905
0 | 0 | -2.4251e-05 | -3.4159e-05 | 0 | -0.031516 | -0.01053 | 0.038743 | -0.0011009 | -2.4251e-05 | -0.00098596 | 0.0051111 | -0.017448 | -0.0044409 | -3.4159e-05 | -0.0046869 | 0.0042757 | -0.011725 | -0.0040455
1 | 5.1111e-05 | -4.8718e-05 | -0.00015622 | 5.1111e-05 | -0.19101 | 0.094524 | 0.18368 | 0.029066 | -4.8718e-05 | -0.13519 | 0.034733 | 0.050201 | -0.016753 | -0.00015622 | -0.051571 | 0.024583 | 0.0069389 | -0.006683
2 | 5.2405e-05 | -0.0001246 | -0.00023626 | 5.2405e-05 | -0.34849 | 0.20561 | 0.30996 | 0.055695 | -0.0001246 | -0.27369 | -0.0921 | 0.11494 | -0.083615 | -0.00023626 | -0.099725 | 0.047344 | 0.025191 | -0.0090636
3 | 6.4609e-05 | -0.00020406 | -0.000317 | 6.4609e-05 | -0.50173 | 0.32271 | 0.41616 | 0.079048 | -0.00020406 | -0.41381 | -0.088498 | 0.18178 | -0.10684 | -0.000317 | -0.14868 | 0.071353 | 0.042542 | -0.011596
4 | 4.9688e-05 | -0.000276 | -0.00040241 | 4.9688e-05 | -0.65073 | 0.43667 | 0.52211 | 0.10268 | -0.000276 | -0.55616 | -0.0396 | 0.24831 | -0.11582 | -0.00040241 | -0.19954 | 0.096844 | 0.059998 | -0.014231
5 | 4.241e-05 | -0.00033549 | -0.00049986 | 4.241e-05 | -0.79548 | 0.54304 | 0.62942 | 0.12566 | -0.00033549 | -0.69914 | 0.025081 | 0.31725 | -0.11894 | -0.00049986 | -0.25116 | 0.12392 | 0.080404 | -0.015611
6 | 2.391e-05 | -0.00039983 | -0.00059137 | 2.391e-05 | -0.93633 | 0.64805 | 0.73581 | 0.14918 | -0.00039983 | -0.8437 | 0.10079 | 0.38824 | -0.11822 | -0.00059137 | -0.30418 | 0.15097 | 0.1031 | -0.016705
7 | -2.2533e-05 | -0.00047211 | -0.00067843 | -2.2533e-05 | -1.079 | 0.75322 | 0.83616 | 0.17013 | -0.00047211 | -0.98319 | 0.16781 | 0.45949 | -0.11863 | -0.00067843 | -0.34223 | 0.15587 | 0.12525 | -0.020369
8 | -4.805e-05 | -0.00054378 | -0.00076195 | -4.805e-05 | -1.1967 | 0.8436 | 0.93008 | 0.19233 | -0.00054378 | -1.1238 | 0.24582 | 0.52951 | -0.11616 | -0.00076195 | -0.39292 | 0.18118 | 0.14567 | -0.022027
TEMPERATURE CORRECTED
|  |  |  | Active Area 1 |  |  |  |  | Active Area 2 |  |  |  |  | Active Area 3
|  |  |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3 |  | Curvature | Ch 1 | Ch 2 | Ch 3
|  |  |  | 0 | 0.016447 | 0.0084098 | -0.024857 |  | 0 | -0.015299 | 4.5342e-05 | 0.015254 |  | 0 | -0.0059184 | -0.0043603 | 0.010279
|  |  |  | -0.00013218 | -0.050453 | 0.018253 | 0.0322 |  | -0.00012197 | -0.34951 | 0.047183 | 0.30233 |  | -0.00012197 | -0.14522 | 0.038377 | 0.10684
|  |  |  | -0.00028484 | -0.14613 | 0.062558 | 0.083577 |  | -0.00033528 | -0.79899 | 0.1217 | 0.67729 |  | -0.00033528 | -0.38476 | 0.16923 | 0.21553
|  |  |  | -0.0005227 | -0.20994 | 0.095361 | 0.11457 |  | -0.00056562 | -1.3713 | 0.37647 | 0.99479 |  | -0.00056562 | -0.67231 | 0.3237 | 0.34861
|  |  |  | 0 | 0.013968 | 0.0010196 | -0.014988 |  | 0 | 0.011844 | -0.0095974 | -0.0022469 |  | 0 | 0.0065598 | -0.0039609 | -0.0025989
|  |  |  | -3.6697e-05 | -0.074982 | 0.031997 | 0.042986 |  | -8.7079e-05 | -0.20839 | 0.05186 | 0.15653 |  | -8.7079e-05 | -0.065142 | 0.030654 | 0.034488
|  |  |  | -6.3999e-05 | -0.17647 | 0.07893 | 0.097539 |  | -0.00022923 | -0.39942 | 0.021314 | 0.37811 |  | -0.00022923 | -0.15126 | 0.081641 | 0.069619
|  |  |  | -0.00010212 | -0.27603 | 0.12629 | 0.14974 |  | -0.00035604 | -0.6619 | 0.13916 | 0.52274 |  | -0.00035604 | -0.24223 | 0.13297 | 0.10926
|  |  |  | -0.00015627 | -0.37106 | 0.17379 | 0.19727 |  | -0.00048559 | -0.94117 | 0.28475 | 0.65642 |  | -0.00048559 | -0.33393 | 0.18525 | 0.14868
|  |  |  | -0.00019525 | -0.44536 | 0.21258 | 0.23278 |  | -0.00060995 | -1.2302 | 0.43038 | 0.79983 |  | -0.00060995 | -0.42761 | 0.2374 | 0.19021
|  |  |  | 0 | -0.030415 | -0.0094294 | 0.039844 |  | -2.4251e-05 | 0.0034549 | 0.009552 | -0.013007 |  | -2.4251e-05 | -0.00064138 | 0.0083213 | -0.0076799
|  |  |  | 5.1111e-05 | -0.22007 | 0.065457 | 0.15462 |  | -4.8718e-05 | -0.11844 | 0.051486 | 0.066954 |  | -4.8718e-05 | -0.044888 | 0.031266 | 0.013622
|  |  |  | 5.2405e-05 | -0.40419 | 0.14992 | 0.25427 |  | -0.0001246 | -0.19007 | -0.0084851 | 0.19856 |  | -0.0001246 | -0.090661 | 0.056407 | 0.034254
|  |  |  | 6.4609e-05 | -0.58078 | 0.24366 | 0.33712 |  | -0.00020406 | -0.30697 | 0.018346 | 0.28862 |  | -0.00020406 | -0.13709 | 0.082949 | 0.054138
|  |  |  | 4.9688e-05 | -0.75341 | 0.33398 | 0.41943 |  | -0.000276 | -0.44034 | 0.076215 | 0.36413 |  | -0.000276 | -0.1853 | 0.11108 | 0.074229
|  |  |  | 4.241e-05 | -0.92114 | 0.41738 | 0.50376 |  | -0.00033549 | -0.5802 | 0.14402 | 0.43618 |  | -0.00033549 | -0.23555 | 0.13953 | 0.096015
|  |  |  | 2.391e-05 | -1.0855 | 0.49887 | 0.58664 |  | -0.00039983 | -0.72548 | 0.21901 | 0.50647 |  | -0.00039983 | -0.28748 | 0.16767 | 0.1198
|  |  |  | -2.2533e-05 | -1.2491 | 0.58309 | 0.66603 |  | -0.00047211 | -0.86456 | 0.28644 | 0.57812 |  | -0.00047211 | -0.32186 | 0.17624 | 0.14562
|  |  |  | -4.805e-05 | -1.389 | 0.65126 | 0.73774 |  | -0.00054378 | -1.0077 | 0.36198 | 0.64567 |  | -0.00054378 | -0.3709 | 0.2032 | 0.16769

## Expmt. 1 - 20mm
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Displacement (mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | -1.8311e-05 | 8.7091e-06 | -1.536e-05 | 9.4913e-06 | -2.8346e-05 | 9.7067e-06 | 1540.2959 | 0.0027846 | 1550.3153 | 0.0054317 | 1560.4506 | 0.0039054 | 1540.5032 | 0.0027925 | 1550.559 | 0.0040279 | 1560.1941 | 0.0038686 | 1540.7391 | 0.0015408 | 1550.5763 | 0.0037836 | 1560.3732 | 0.0019201
1 | -0.00013218 | 1.8855e-05 | -0.00012197 | 2.3609e-06 | -8.2492e-05 | 2.1042e-06 | 1540.2395 | 0.0020086 | 1549.9704 | 0.018885 | 1560.3039 | 0.021827 | 1540.5236 | 0.0021687 | 1550.5953 | 0.010352 | 1560.2294 | 0.0063417 | 1540.8067 | 0.0028721 | 1550.8526 | 0.0088267 | 1560.4624 | 0.011004
2 | -0.00028484 | 1.456e-05 | -0.00033528 | 7.6299e-06 | -0.00012391 | 6.4735e-06 | 1540.1591 | 0.014133 | 1549.4285 | 0.023851 | 1560.0525 | 0.019415 | 1540.5832 | 0.0056361 | 1550.5775 | 0.010521 | 1560.3484 | 0.010556 | 1540.8734 | 0.0083214 | 1551.1353 | 0.02094 | 1560.5592 | 0.0095648
3 | -0.0005227 | 2.55e-05 | -0.00056562 | 5.5751e-06 | -0.00015321 | 2.7488e-06 | 1540.1101 | 0.0050432 | 1548.8468 | 0.0044905 | 1559.753 | 0.0010845 | 1540.6308 | 0.0029285 | 1550.8228 | 0.062109 | 1560.4909 | 0.0030797 | 1540.9191 | 0.0017976 | 1551.4433 | 0.0032397 | 1560.6804 | 0.0019889

## Expmt. 2 - 35mm
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Displacement (mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | 7.6584e-06 | 3.0621e-05 | -6.7899e-06 | 9.874e-06 | -2.8151e-05 | 6.6774e-06 | 1540.2917 | 0.0051286 | 1550.3422 | 0.0057624 | 1560.4612 | 0.0042006 | 1540.4941 | 0.0014853 | 1550.549 | 0.0019185 | 1560.1926 | 0.0023242 | 1540.7473 | 0.0017141 | 1550.5585 | 0.0018351 | 1560.3585 | 0.0029994
1 | -3.6697e-05 | 1.7041e-05 | -8.7079e-05 | 1.345e-05 | -0.00010407 | 3.6542e-06 | 1540.216 | 0.0034586 | 1550.106 | 0.0087945 | 1560.386 | 0.0075027 | 1540.5384 | 0.0020575 | 1550.5945 | 0.0095739 | 1560.2237 | 0.0019865 | 1540.8186 | 0.0028699 | 1550.7014 | 0.0018901 | 1560.3921 | 0.0040634
2 | -6.3999e-05 | 2.8376e-05 | -0.00022923 | 4.2583e-06 | -0.00014488 | 6.8098e-06 | 1540.131 | 0.0038414 | 1549.8278 | 0.0099932 | 1560.2954 | 0.010425 | 1540.6018 | 0.0055505 | 1550.4768 | 0.0052908 | 1560.2702 | 0.0027778 | 1540.8896 | 0.0068704 | 1550.8358 | 0.0042484 | 1560.4227 | 0.0053009
3 | -0.00010212 | 5.4969e-05 | -0.00035604 | 5.3183e-06 | -0.0001998 | 9.9968e-06 | 1540.047 | 0.010792 | 1549.5557 | 0.013378 | 1560.2009 | 0.011799 | 1540.6647 | 0.0088014 | 1550.5851 | 0.0036995 | 1560.318 | 0.0044207 | 1540.9573 | 0.011142 | 1550.9708 | 0.0064072 | 1560.4588 | 0.0054104
4 | -0.00015627 | 7.1986e-05 | -0.00048559 | 5.0318e-06 | -0.00025188 | 1.3463e-05 | 1539.967 | 0.016605 | 1549.2797 | 0.014374 | 1560.1052 | 0.0076938 | 1540.7272 | 0.010446 | 1550.7339 | 0.0061758 | 1560.3663 | 0.0075707 | 1541.0199 | 0.013314 | 1551.1078 | 0.0094738 | 1560.4942 | 0.0033402
5 | -0.00019525 | 4.887e-06 | -0.00060995 | 1.1704e-06 | -0.00030088 | 1.6772e-06 | 1539.9046 | 0.0043305 | 1548.9912 | 0.0021177 | 1560.0071 | 0.0026136 | 1540.7779 | 0.0015203 | 1550.8801 | 0.0015056 | 1560.414 | 0.00093486 | 1541.0673 | 0.001454 | 1551.2517 | 0.0036398 | 1560.5313 | 0.0021923

## Expmt. 3 - 55mm
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Displacement (mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
0 | -2.0904e-05 | 5.1519e-06 | -2.4251e-05 | 3.9867e-06 | -3.4159e-05 | 1.8422e-06 | 1540.2465 | 0.0033068 | 1550.3273 | 0.0064081 | 1560.4489 | 0.005003 | 1540.4829 | 0.0013583 | 1550.5616 | 0.0019461 | 1560.1997 | 0.0020447 | 1540.8013 | 0.0041644 | 1550.5413 | 0.0040563 | 1560.3483 | 0.0024211
1 | 5.1111e-05 | 4.7902e-05 | -4.8718e-05 | 1.1407e-05 | -0.00015622 | 3.7706e-06 | 1540.087 | 0.0033676 | 1550.1931 | 0.0084934 | 1560.402 | 0.0067125 | 1540.5879 | 0.0024396 | 1550.5913 | 0.006672 | 1560.2201 | 0.0029825 | 1540.9463 | 0.002879 | 1550.6089 | 0.0042985 | 1560.3669 | 0.0037023
2 | 5.2405e-05 | 7.0548e-06 | -0.0001246 | 2.9499e-06 | -0.00023626 | 2.2899e-06 | 1539.9295 | 0.00372 | 1550.0546 | 0.0066561 | 1560.3539 | 0.0068708 | 1540.699 | 0.0049802 | 1550.4644 | 0.040824 | 1560.2428 | 0.0031019 | 1541.0725 | 0.0043981 | 1550.6736 | 0.0046544 | 1560.3852 | 0.0046062
3 | 6.4609e-05 | 1.3664e-05 | -0.00020406 | 3.0015e-06 | -0.000317 | 4.3399e-06 | 1539.7763 | 0.0044286 | 1549.9144 | 0.0046558 | 1560.3049 | 0.0065681 | 1540.8161 | 0.010778 | 1550.468 | 0.0048197 | 1560.2668 | 0.0021143 | 1541.1787 | 0.005766 | 1550.7405 | 0.0029224 | 1560.4025 | 0.0038361
4 | 4.9688e-05 | 1.3014e-05 | -0.000276 | 2.6894e-06 | -0.00040241 | 2.1378e-06 | 1539.6273 | 0.0044314 | 1549.7721 | 0.0043689 | 1560.254 | 0.0069943 | 1540.9301 | 0.0081364 | 1550.5169 | 0.0015601 | 1560.2923 | 0.0017202 | 1541.2847 | 0.003126 | 1550.807 | 0.0027431 | 1560.42 | 0.0041201
5 | 4.241e-05 | 2.0072e-05 | -0.00033549 | 3.756e-06 | -0.00049986 | 3.4441e-06 | 1539.4825 | 0.0038172 | 1549.6291 | 0.0037203 | 1560.2024 | 0.0069837 | 1541.0364 | 0.0079536 | 1550.5816 | 0.00509 | 1560.3194 | 0.002087 | 1541.392 | 0.0033906 | 1550.8759 | 0.0040002 | 1560.4404 | 0.0039663
6 | 2.391e-05 | 1.0052e-05 | -0.00039983 | 1.8904e-06 | -0.00059137 | 1.6601e-06 | 1539.3417 | 0.0041577 | 1549.4845 | 0.0060012 | 1560.1494 | 0.0054299 | 1541.1414 | 0.009145 | 1550.6573 | 0.0094407 | 1560.3464 | 0.0033304 | 1541.4984 | 0.0031326 | 1550.9469 | 0.0042526 | 1560.4631 | 0.0054492
7 | -2.2533e-05 | 1.4915e-05 | -0.00047211 | 5.9505e-06 | -0.00067843 | 4.0669e-06 | 1539.199 | 0.010874 | 1549.3451 | 0.0082672 | 1560.1114 | 0.0065353 | 1541.2466 | 0.0097069 | 1550.7243 | 0.0066907 | 1560.3513 | 0.0034609 | 1541.5987 | 0.0042998 | 1551.0182 | 0.0045764 | 1560.4852 | 0.0038133
8 | -4.805e-05 | 1.4687e-05 | -0.00054378 | 2.6057e-06 | -0.00076195 | 4.1511e-06 | 1539.0813 | 0.0031339 | 1549.2044 | 0.0019647 | 1560.0607 | 0.0057853 | 1541.337 | 0.0060702 | 1550.8023 | 0.0058177 | 1560.3766 | 0.0026835 | 1541.6926 | 0.0032729 | 1551.0882 | 0.0041695 | 1560.5057 | 0.0031393

## "Zero" Curvature
| AA 1 |  | AA 2 |  | AA 3 |  | CH1 ¦ AA1 |  | CH1 ¦ AA2 |  | CH1 ¦ AA3 |  | CH2 ¦ AA1 |  | CH2 ¦ AA2 |  | CH2 ¦ AA3 |  | CH3 ¦ AA1 |  | CH3 ¦ AA2 |  | CH3 ¦ AA3
Experiment | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average Curvature (1/mm) | Std Dev (1/mm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm) | Average (nm) | STD (nm)
1 | -1.8311e-05 | 8.7091e-06 | -1.536e-05 | 9.4913e-06 | -2.8346e-05 | 9.7067e-06 | 1540.2959 | 0.0027846 | 1550.3153 | 0.0054317 | 1560.4506 | 0.0039054 | 1540.5032 | 0.0027925 | 1550.559 | 0.0040279 | 1560.1941 | 0.0038686 | 1540.7391 | 0.0015408 | 1550.5763 | 0.0037836 | 1560.3732 | 0.0019201
2 | 7.6584e-06 | 3.0621e-05 | -6.7899e-06 | 9.874e-06 | -2.8151e-05 | 6.6774e-06 | 1540.2917 | 0.0051286 | 1550.3422 | 0.0057624 | 1560.4612 | 0.0042006 | 1540.4941 | 0.0014853 | 1550.549 | 0.0019185 | 1560.1926 | 0.0023242 | 1540.7473 | 0.0017141 | 1550.5585 | 0.0018351 | 1560.3585 | 0.0029994
3 | -2.0904e-05 | 5.1519e-06 | -2.4251e-05 | 3.9867e-06 | -3.4159e-05 | 1.8422e-06 | 1540.2465 | 0.0033068 | 1550.3273 | 0.0064081 | 1560.4489 | 0.005003 | 1540.4829 | 0.0013583 | 1550.5616 | 0.0019461 | 1560.1997 | 0.0020447 | 1540.8013 | 0.0041644 | 1550.5413 | 0.0040563 | 1560.3483 | 0.0024211
Min | -2.0904e-05 |  | -2.4251e-05 |  | -3.4159e-05 |  | 1540.2465 |  | 1550.3153 |  | 1560.4489 |  | 1540.4829 |  | 1550.549 |  | 1560.1926 |  | 1540.7391 |  | 1550.5413 |  | 1560.3483
Max | 7.6584e-06 |  | -6.7899e-06 |  | -2.8151e-05 |  | 1540.2959 |  | 1550.3422 |  | 1560.4612 |  | 1540.5032 |  | 1550.5616 |  | 1560.1997 |  | 1540.8013 |  | 1550.5763 |  | 1560.3732
Average | -1.0519e-05 |  | -1.5467e-05 |  | -3.0219e-05 |  | 1540.278 |  | 1550.3282 |  | 1560.4536 |  | 1540.4934 |  | 1550.5565 |  | 1560.1955 |  | 1540.7626 |  | 1550.5587 |  | 1560.36
Std Dev | 1.5795e-05 |  | 8.7312e-06 |  | 3.414e-06 |  | 0.027375 |  | 0.01344 |  | 0.0066724 |  | 0.010198 |  | 0.006663 |  | 0.0037768 |  | 0.033798 |  | 0.017541 |  | 0.012554
All Curvatures
| Average Curvature (1/mm) | Std Dev (1/mm) | Weights
1.1 | -3.2887e-05 | 3.249e-06 | 307788.9193 |  | Ch 1
1.2 | -2.5752e-05 | 2.2955e-06 | 435627.0925 |  | Active Area | Wavelength (nm)
1.3 | 2.1673e-05 | 4.4135e-05 | 22657.9846 |  | 1 | 1540.278
2.1 | -2.6418e-05 | 2.3697e-06 | 421994.9236 |  | 2 | 1550.3282
2.2 | -2.1787e-05 | 1.7014e-06 | 587743.0011 |  | 3 | 1560.4536
2.3 | -4.8364e-06 | 1.6975e-05 | 58909.0943
3.1 | -2.6418e-05 | 2.3697e-06 | 421994.9236 |  | Ch 2
3.2 | -2.1787e-05 | 1.7014e-06 | 587743.0011 |  | Active Area | Wavelength (nm)
3.3 | -4.8364e-06 | 1.6975e-05 | 58909.0943 |  | 1 | 1540.4934
Weighted Average | -2.3878e-05 |  |  |  | 2 | 1550.5565
Weighted Std Dev | 8.6419e-07 |  |  |  | 3 | 1560.1955
Min | -3.2887e-05
Max | 2.1673e-05 |  |  |  | Ch 3
|  | Zero Curvature |  |  | Active Area | Wavelength (nm)
|  | Range | Curvature (1/mm) |  | 1 | 1540.7626
|  | Min | -2.0904e-05 |  | 2 | 1550.5587
|  | Max | 7.6584e-06 |  | 3 | 1560.36